## Config
Rainbow-4420N Gate Etcher Configuration
Location | Seiko Epson | Equipment ID | Eq-097
SG Number | 17257 | Wafer size | 6"
Maker | Sumitomo | Model | Rainbow-4420N
Serial Number | 4177(PY177) | Vintage | None
Inspector | tc.Jeong | Date | 2012-02-23
Software | N/A
Loader type | Index Sender | OK
| Index Receiver | OK
Robor Handler | OK
Load Lock | Inner L/L | OK
| Outer L/L | OK
Chamber | Clean
Chuck type | Clamp
Backside Helium cooling | Yes | Endpoint dector | Yes
RF Match | OK | CRT | OK
Gasbox | Yes | Gas line | 6 line
Process Gases | CL2,O2, CF4, He,SF6,N2
Remote AC Box | Yes | Power | 208V, 3Ø
RF Generator | ENI OEM-650A
Pumps: | No Pump | CHILLER | CS15W

## Packing List
Total Packing List
MANUFACTURER |  | Sumitomo |  | DATE |  |  | February 23th, 2012
Tool ID |  | Eq-097 |  | MODEL |  |  | Rainbow-4420N
Tool Serial No. |  | 4177(PY177) |  | SG No. / VINTAGE |  |  | 17257 / None
Tote No. | DESCRIPTION |  |  | QTY | Check | Remark |  |  | Dimension (mm)
[9 empty] | Width | Length | Height
1 | Main Frame |  |  | 1 |  |  |  |  | 1150 | 1850 | 1750
2 | Remote AC Box |  |  | 1 |  |  |  |  | 650 | 1000 | 1500
3 | Gas Box |  |  | 1 |  |  |  |  | 1050 | 400 | 2000
4 | Chiller |  |  | 1 |  |  |  |  | 700 | 1100 | 1000
5 | Box- 1 |  |  | 1 |  |  |  |  | 550 | 550 | 550
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
Total |  |  |  | 5
REMARK :
Customer Full Name |  |  | Signature |  |  |  |  | DATE
Vendor Full Name |  |  | Signature |  |  |  |  | DATE

## 1
Tote Packing List
MANUFACTURER |  |  |  | Sumitomo |  | DATE |  |  | February 23th, 2012
Tool ID |  |  |  | Eq-097 |  | MODEL |  |  | Rainbow-4420N
Tool Serial No. |  |  |  | 4177(PY177) |  | SG No. / VINTAGE |  |  | 17257 / None
| Tote NAME : |  | Main Frame |  |  | Tote Number : |  |  | 1 |  | / | 5
NO. |  | DESCRIPTION |  |  |  | QTY | Check | Remark
1 |  | Main Frame |  |  |  | 1
2 |  | Monitor |  |  |  | 1
3 |  | Bellows |  |  |  | 4
4 |  | Water Hose |  |  |  | 4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Total | [5 empty] | 10
REMARK :
Customer Full Name |  |  |  |  | Signature |  |  |  |  | DATE
Vendor Full Name |  |  |  |  | Signature |  |  |  |  | DATE

## 2
Tote Packing List
MANUFACTURER |  |  |  | Sumitomo |  | DATE |  |  | February 23th, 2012
Tool ID |  |  |  | Eq-097 |  | MODEL |  |  | Rainbow-4420N
Tool Serial No. |  |  |  | 4177(PY177) |  | SG No. / VINTAGE |  |  | 17257 / None
| Tote NAME : |  | Remote AC Box |  |  | Tote Number : |  |  | 2 |  | / | 5
NO. |  | DESCRIPTION |  |  |  | QTY | Check | Remark
1 |  | Remote AC Box |  |  |  | 1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Total | [5 empty] | 1
REMARK :
Customer Full Name |  |  |  |  | Signature |  |  |  |  | DATE
Vendor Full Name |  |  |  |  | Signature |  |  |  |  | DATE

## 3
Tote Packing List
MANUFACTURER |  |  |  | Sumitomo |  | DATE |  |  | February 23th, 2012
Tool ID |  |  |  | Eq-097 |  | MODEL |  |  | Rainbow-4420N
Tool Serial No. |  |  |  | 4177(PY177) |  | SG No. / VINTAGE |  |  | 17257 / None
| Tote NAME : |  | Gas Box |  |  | Tote Number : |  |  | 3 |  | / | 5
NO. |  | DESCRIPTION |  |  |  | QTY | Check | Remark
1 |  | Gas Box |  |  |  | 1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Total | [5 empty] | 1
REMARK :
Customer Full Name |  |  |  |  | Signature |  |  |  |  | DATE
Vendor Full Name |  |  |  |  | Signature |  |  |  |  | DATE

## 4
Tote Packing List
MANUFACTURER |  |  |  | Sumitomo |  | DATE |  |  | February 23th, 2012
Tool ID |  |  |  | Eq-097 |  | MODEL |  |  | Rainbow-4420N
Tool Serial No. |  |  |  | 4177(PY177) |  | SG No. / VINTAGE |  |  | 17257 / None
| Tote NAME : |  | Chiller |  |  | Tote Number : |  |  | 4 |  | / | 5
NO. |  | DESCRIPTION |  |  |  | QTY | Check | Remark
1 |  | Chiller |  |  |  | 1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Total | [5 empty] | 1
REMARK :
Customer Full Name |  |  |  |  | Signature |  |  |  |  | DATE
Vendor Full Name |  |  |  |  | Signature |  |  |  |  | DATE

## 5
Tote Packing List
MANUFACTURER |  |  |  | Sumitomo |  | DATE |  |  | February 23th, 2012
Tool ID |  |  |  | Eq-097 |  | MODEL |  |  | Rainbow-4420N
Tool Serial No. |  |  |  | 4177(PY177) |  | SG No. / VINTAGE |  |  | 17257 / None
| Tote NAME : |  | Box - 1 |  |  | Tote Number : |  |  | 5 |  | / | 5
NO. |  | DESCRIPTION |  |  |  | QTY | Check | Remark
1 |  | Signal Cable |  |  |  | 10
2 |  | Power Cable |  |  |  | 2
3 |  | Clear Lid |  |  |  | 1
4 |  | Shower Head |  |  |  | 2
5 |  | Blocker Plate |  |  |  | 2
6 |  | Ceramic Shield |  |  |  | 4
7 |  | Lock Ball |  |  |  | 2
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Total | [5 empty] | 23
REMARK :
Customer Full Name |  |  |  |  | Signature |  |  |  |  | DATE
Vendor Full Name |  |  |  |  | Signature |  |  |  |  | DATE