## TPEO #01
Novellus C2 Sequel Configuration
[5 empty] | Customer Name : |  |  |  |  | Form : | System Audit
Order Information
|  | Manufactured Date: | 1996 |  |  | Disassembly: |  |  |  | Machine Type: | Shrink | Standard
|  | Auditor: |  |  |  | Assembly: |  |  |  | Serial Number: | 5177 | Shrink
|  | Supervisor: |  |  |  | Final Test: |  | Copying an Existing System:
|  | Ship Date: |  |  |  | Source Inspection: |  | Copy of Configuration Available:
IMO
System Diagram | [11 empty] | NITRIDE
Wafer Size |  |  | Wafer Shape |  | SMIF Interface |  |  | Aligner Option |  |  | System Main Power | ARC
200mm |  |  | Flat |  | No |  |  | No |  |  | 3￠ 5Wires 208V | Passivation
[11 empty] | System UPS Power | MTR 5
Module A | [10 empty] | 3￠3Wires 120V | Mac 7
Shrink | [10 empty] | Loadlock Dry Pump Model
Process A | [10 empty] | Lot105 | Yes
IMO | [10 empty] | Slit Valve Insert | No
No
[11 empty] | Slit Valve Type | Ceramic
[11 empty] | VAT | Metal
TM Dry Pump Model
[11 empty] | Lot105 | VAT
[8 empty] | Loadlock Baratron Model |  |  | TM Throttle Valve Model | SMC L-Motion
[8 empty] | 275 MINI Convectron |  |  | MKS
[11 empty] | TM Baratron Model | Existence
[11 empty] | MKS | Nothing
IOC Version
[8 empty] | 4.1 |  |  |  | MC1
TM Robot Type | [11 empty] | MC3
MTR5
TM Robot Blade |  | Wafer sensor |  |  |  | Fab Installation |  | EMO's |  |  | Front Monitor | GEM
Metal |  | Existence |  |  |  | Run Flow |  | Turn to Release |  |  | Center UI | SECS
Software Rev |  |  | Signal Tower |  |  | Module Controller |  | Host Interface
Modify Soft |  |  |  | Yes |  | Modify Control |  | SECS
System Information
System Notes:
Single SEQUEL-S
System Controller and DLCM Controller has been upgraded(Local Company in Korea)
■ Now is Main power ON/RUN
Module A Information | [11 empty] | AE RFG5500
| Chamber Type |  |  | Manometer 1(10T) |  |  | Heaterblock Type |  |  | Throttle Valve |  | ENI OEM-50
| Shrink |  |  | MKS |  |  | 6 Station |  |  | MILLIPORE |  | MKS
| Module S/N |  |  | Manometer 2(1000T) |  |  | End point option |  |  | Trottle Valve Heat Option |  | Tylan
|  |  |  | MKS |  |  | Yes |  |  | Yes |  | VAT
| Module Controller |  |  | Process Clean Type |  |  | Spindle Top Plate Type |  |  | Liquid IOC Version
| MC1 |  |  | In Situ |  |  | 6 Piece |  |  | 4.1 |  | Yes
| Chamber Process |  |  | HF Generator |  |  | Spindle Type |  |  | TEOS Gas Cabnet Type |  | No
| Passivation |  |  | ENI OEM-50 |  |  | Ferrofluidic |  |  | Duraflo
| IOC Version |  |  | LF Generator |  |  | Foreline Gate Heat option |  |  | Module Dry Pump |  | Duraflo
| IOC1 | 4.1 |  | ENI PL2HF |  |  | Yes |  |  | LOT 1205 |  | Six Sigma
| IOC2 | 4.1 |  | RF Match |  |  | Foreline Gate Valve |  |  |  |  | N/A
| IOC3 | 4.1 |  | NPP |  |  | VAT
AE PDX1400
Chamber Gas Box | [11 empty] | ENI PL2HF
| MFC Number |  | Gas Name |  | MFCSize |  | MFC Model |  | MFC S/N
|  |  | AR |  | 5 | SLM | N/C |  | N/C (System Run Process) |  |  | 6 Station
|  |  | N2 |  | 5 | SLM | N/C |  | N/C (System Run Process) |  |  | 5 Station
|  |  | NF3 |  | 10 | SLM | N/C |  | N/C (System Run Process)
|  |  | SIH4 |  | 1 | SLM | N/C |  | N/C (System Run Process) |  |  | Ferrofluidic
|  |  | N20 |  | 20 | SLM | N/C |  | N/C (System Run Process) |  |  | Lip Seal
|  |  | N2 |  | 5 | SLM | N/C |  | N/C (System Run Process) |  |  | 4
|  |  | N2 |  | 10 | SLM | N/C |  | N/C (System Run Process) |  |  | 4.1
4.2
SLM
Sccm
In Situ
RPC
1 Piece
6 Piece
Module A Notes:
RPS upgraded by NPP ( Local company in Korea)
Module Controller has been upgraded(Local Company in Korea)
All Side Cover Do not install
EPD Head Not Install
Gate Valve Heater Fail