EG4090 prober configuration

- Model:  EG4090u

- Size:    8 inch chuck.

- Chuck top:   Hot, Gold chuck

- 10.4” touch panel

- Keypad

- Handler:   Manual & Automatic wafer handling (not SMIF)

- Cassette:   1 stage for 6” and 8”

- CPCS-II:

  - Auto needle height search function

  - Needle Mark inspection: Standard

  - Ink Mark inspection: Standard

  - Clean pad: Ceramic clean pad

  - Auto needle alignment: Standard

- DPS camera

- Z axis accuracy 0.125mil

- Manipulator:  LCM model

- Wafer auxiliary tray

- Cross slot wafer detection

- Touch screen for operation

- O/S EG commander  6.2

- Communication: GPIB IEEE, RS232, TTL parallel (I/O) , network